## Slide 1
Cristina Gonzalez Torres
IWAA 2026 - KEK, Tsukuba, Japan
Wednesday, October 7, 2026
New Beam Line Measurement Campaign at the ESRF

## Slide 2
Synchrotron
6 GeV
Scientific visitors each year
10 000
The esrf
Beamlines
(public + CRG)
34 + 12
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 3
Two sides of the wall
Mature systematic survey | Historically measurement on demand
Repeatability | No repeatability
Established monitoring | No long-term systematic time series
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres
Measurement history | …

## Slide 4
The storage ring survey
Chart: 
| Man days
1992-1998 | 73
1999-2012 | 10
2013-2024 | 8
Chart: 
| Measurements
1992-1998 | 2700
1999-2012 | 3880
2013-2024 | 9600
Time required
Number of observation
Chart: 
| Planimetry | Altimetry
1992-1998 | 35 | 125
1999-2012 | 535 | 175
2013-2024 | 800 | 400
Observation/person
Chart: 
| 1992-1998 | 1999-2012 | 2013-2024
dR | 220 | 100 | 50
dZ | 50 | 35 | 20
dR and dZ (μm)
A stable methodology
Regular measurements, five times a year
Our coordinate database (CDB) that contains the measured realization of the reference network at a particular moment
Less effort, more data — the survey has matured over three decades, five campaigns a year.
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 5
Beamlines: historically measured on demand
Operationally has worked…
Only under request….
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 6
No systematic problem
No beamline has currently reported a systematic alignment problem. This is not a corrective campaign, and we are not starting from the assumption that beamlines are moving.
On-demand measurement works well for the immediate task — align the element, close the intervention.
But it does not naturally build a long-term measurement history for the beamline.
The goal of this campaign: make geometric evolution measurable.
WHERE IS THE ELEMENT TODAY?
How has this beamline evolved over time?
Not a correction
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 7
From Local sightlines to a Network
Geometrical structure
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 8
the beam lines frame
The common geometrical language of the beamline
Point Source
When we say that an element is at a certain position, or that an element has to be aligned with the beamline axis, this is the reference system we are talking about.
0mrad Frame
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 9
Frame construction
The nominal beamline axis is determined by the magnets position.
updated every 6 months
0mrad Frame
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 10
Frame evolution
The geometrical reference used to describe the beam line is not necessarily identical from one period to another
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 11
Working across Epochs
The elements are expressed in reference frames derived from different epochs
Therefore, the difference we observe can contain several contributions:
the actual evolution of the element
the evolution of the local reference network
the evolution of the global reference network
measurement uncertainty
changes associated with the way the measurement or calculation was performed
A difference between two coordinates is not automatically a displacement
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 12
From alignment on demand to annual monitoring
ALIGNMENT ON DEMAND  ANNUAL MONITORING
The idea is to survey each beamline as a complete system
The beamline elements and the hutch reference network are measured during the same campaign
The measurements are then calculated together and related to the appropriate CDB reference
This gives us a consistent measurement epoch for that beamline.
The campaign is distributed over approximately one year
But for each individual beamline, the objective is to obtain a image of its geometry
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 13
Information levels
SR / EXPH → CDB coordinates → hutch reference network → beamline elements
Three different levels of information:
Global network
Beam line networks
Beam line components
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 14
One by one along the year
46 MDT in 2026
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 15
For each beamline, the campaign follows a relatively simple sequence:
1
Prepare
Point list
Beamline layout
Spatial Analyzer file
2
Field work
Measure the hutch reference network
and the beamline elements
3
Processing
USMN network adjustment
Bestfit to the CDB reference
4
Quality control
Validate results
Analysis
OUTPUT
Not simply a list of measured coordinates — the campaign produces:
An updated local reference network
A complete set of beamline measurements,
associated with a defined measurement epoch
The European Synchrotron
METHODOLOGY: THE MEASUREMENT SEQUENCE
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 16
Diverse geometries
Some beamlines are straightforward to survey. Others have long beam paths or complicated layouts.
Long, complex paths
The survey team may pass through several areas before reaching the points that need measuring — adding time and logistics.
Raised floors, Walls isolation
Raised floors complicate instrument positioning and lines of sight between reference points and elements.
No single field configuration works everywhere — the methodology has to adapt, beamline by beamline.
11
The European Synchrotron
Challenges and constraints
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 17
Challenges: Diversity
ID03
ID27
ID16
ID30
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 18
Challenges: Long and complex survey paths
Some beamlines require passing through several areas before we can reach the points we need to measure
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 19
constraints: Raised floor, Isolation walls`
Raised floor
 Time consuming
 Conditional stations
Wall isolation :
 Determines the network's geometry
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 20
challenges: Scheduling
WHAT HAS TO LINE UP, EVERY TIME
1
Subcontractor — the external survey company needs a free slot in their own schedule.
2
Beamline staff — have to confirm the dates don’t clash with a sample change or another intervention.
3
Safety — the access permit has to be approved.
4
ALGE (ESRF Alignment) — we need to be available ourselves, to follow up on site.
This is one of the main reasons the campaign has to be spread across the whole year.
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 21
challenges: repetability
Mechanical references such as flanges aren't always measured with exactly the same geometry from one year to the next. To detect relatively small real changes, we first need to know how much of an observed difference simply comes from the measurement process itself.
Real operating conditions change between surveys too — elements move, access differs, interventions happen in between.
Good documentation and traceability are what keep the comparison meaningful.
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 22
challenges: repetability
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 23
challenges: repetability
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 24
Challenges: results interpretation
Chart: Elements 202505_CDB20258-202608_CDB202608
| 27539.112000000001 | 27688.63 | 27838.165000000001 | 27989.376 | 28138.9 | 28288.441999999999 | 28483.365000000002 | 28493.377 | 28817.355 | 28817.371999999999 | 28827.376 | 28993.662 | 29213.701000000001 | 30193.502 | 30393.598999999998 | 30655.893 | 30864.05 | 31099.089 | 31317.952000000001 | 31900.567999999999 | 32110.620999999999 | 32499.440999999999 | 32871.339 | 33168.851000000002 | 33388.697999999997 | 33917.178 | 34342.097999999998 | 34767.053 | 35487.89 | 36289.387999999999 | 36873.877999999997 | 37125.970999999998 | 37418.232000000004 | 37638.18 | 38081.300999999999 | 38403.673999999999 | 38510.285000000003 | 38851.262999999999
dY | -0.056 | -0.029 | -0.013 | -0.015 | -0.039 | -0.024 | -0.32 | -0.336 | -0.408 | -0.429 | -0.371 | -0.401 | -0.452 | 0.359 | 0.493 | 0.703 | 0.866 | 1.017 | 1.233 | -0.267 | -0.227 | -0.322 | -0.283 | -0.297 | -0.139 | -0.177 | -0.173 | -0.138 | 1.614 | 0.883 | -0.045 | -0.033 | -0.003 | 0.004 | -0.271 | 0.045 | -0.456 | -0.064
dZ | -0.063 | -0.05 | -0.063 | -0.08 | -0.076 | -0.08 | 0.049 | 0.056 | 0.025 | 0.03 | 0.021 | 0.025 | 0.05 | 0.053 | 0.062 | 0.086 | 0.077 | 0.041 | 0.048 | 0.07 | 0.052 | 0.021 | 0.056 | 0.033 | 0.032 | 0.054 | 0.072 | 0.053 | 0.206 | -0.311 | 0.025 | 0.029 | 0.028 | 0.048 | 0.159 | 0.033 | 0.223 | 0.032
Chart: Network 202505_CDB20258-202608_CDB202608
| 26058.373 | 26058.41 | 30213.717000000001 | 31136.647000000001 | 33578.071000000004 | 34493.726000000002 | 34586.396000000001 | 34587.396000000001 | 36676.135000000002 | 38207.561000000002 | 39213.985000000001 | 39283.995000000003 | 39356.474000000002 | 39395.188999999998 | 40544.684000000001 | 41885.873 | 45828.84 | 48119.398000000001 | 57649.625 | 57660.692999999999 | 57760.478000000003 | 58185.620999999999 | 58192.800000000003 | 58332.762999999999 | 58508.438999999998 | 58781.055999999997 | 59954.784 | 59997.993999999999 | 60077.7 | 62981.067999999999 | 64790.366000000002 | 65368.512999999999 | 69534.444000000003 | 70095.777000000002
dY | -0.281 | -0.264 | -0.191 | -0.147 | -0.09 | -0.04 | 0.003 | 0.001 | 0.021 | 0.083 | 0.107 | 0.109 | 0.067 | 0.045 | -0.053 | 0.02 | -0.075 | 0.01 | -0.009 | -0.006 | 0.031 | -0.042 | -0.037 | -0.009 | -0.046 | 0.049 | -0.032 | -0.005 | -0.219 | -0.089 | -0.108 | -0.032 | -0.075 | 0.058
dZ | -0.017 | -0.005 | 0.001 | -0.005 | -0.003 | -0.026 | 0.03 | 0.011 | -0.001 | -0.001 | 0.009 | 0.009 | -0.044 | -0.051 | 0.023 | -0.019 | -0.091 | -0.062 | -0.044 | -0.044 | -0.067 | -0.088 | -0.1 | -0.087 | -0.139 | -0.101 | -0.099 | -0.049 | -0.085 | 0.095 | -0.096 | -0.096 | -0.105 | -0.055
An observed difference is not automatically a displacement
0mrad202508 Frame
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 25
USMN2025-USMN2026 (No CDB)
USMN2025-USMN2026 (CDB202508)
USMN2025 (CDB202508)-USMN2026 (CDB202608)
Chart: Elements 2025-2026
| 59597.894999999997 | 59817.822 | 59052.023000000001 | 59304.03 | 28493.325000000001 | 28483.325000000001 | 28817.305 | 28817.329000000002 | 28827.342000000001 | 38523.192000000003 | 38836.898000000001 | 31900.564999999999 | 32110.616999999998 | 28993.618999999999 | 29213.651000000002 | 33168.803 | 33388.752999999997 | 34342.131000000001 | 34767.106 | 30193.262999999999 | 30393.391 | 30655.968000000001 | 30864.165000000001 | 31098.887999999999 | 31317.687999999998 | 27539.062000000002 | 27688.567999999999 | 27838.096000000001 | 27989.327000000001 | 28138.875 | 28288.383999999998 | 36873.853000000003 | 37125.894999999997 | 35496.338000000003 | 36281.103000000003
dX | -0.338 | -0.366 | 0.07 | 0.059 | 0.044 | 0.032 | 0.043 | 0.035 | 0.026 | -0.004 | -0.004 | 0.036 | 0.042 | 0.04 | -0.063 | -0.04 | -0.06 | 0.231 | 0.2 | -0.082 | -0.122 | 0.194 | 0.257 | 0.042 | 0.055 | 0.061 | 0.041 | 0.017 | 0.05 | 0.017 | 0.068
dY | -1.649 | -1.853 | -0.01 | -0.002 | 0.161 | 0.144 | 0.236 | 0.257 | 0.2 | 0.311 | -0.002 | 0.128 | 0.09 | 0.231 | 0.284 | 0.171 | 0.015 | 0.06 | 0.03 | -0.516 | -0.648 | -0.856 | -1.016 | -1.165 | -1.378 | -0.13 | -0.155 | -0.169 | -0.166 | -0.14 | -0.154 | -0.041 | -0.05 | -1.716 | -0.975
dZ | 0.116 | 0.122 | 0.111 | 0.122 | 0.041 | 0.048 | 0.073 | 0.067 | 0.076 | -0.133 | 0.066 | 0.028 | 0.046 | 0.073 | 0.048 | 0.065 | 0.066 | 0.025 | 0.045 | 0.044 | 0.036 | 0.012 | 0.021 | 0.056 | 0.049 | 0.16 | 0.148 | 0.16 | 0.178 | 0.174 | 0.178 | 0.072 | 0.068 | -0.108 | 0.408
Chart: Network 2025-2026
| 58781.025000000001 | 59954.758999999998 | 58508.38 | 69534.474000000002 | 62980.930999999997 | 58332.724000000002 | 65368.491000000002 | 59997.883000000002 | 58192.826000000001 | 58185.644 | 60077.612000000001 | 64790.336000000003 | 70095.835000000006 | 40544.680999999997 | 34587.432000000001 | 34586.449000000001 | 39395.207999999999 | 39356.49 | 41885.862999999998 | 48119.349000000002 | 57760.445 | 57660.641000000003 | 45828.819000000003 | 57649.588000000003 | 26058.337 | 30213.72 | 33578.065999999999 | 36676.165000000001 | 38207.567999999999 | 39283.982000000004 | 39213.964 | 34493.667000000001 | 31136.559000000001 | 26058.296999999999
dX | 0.031 | 0.024 | 0.059 | -0.03 | 0.138 | 0.039 | 0.022 | 0.111 | -0.026 | -0.023 | 0.087 | 0.03 | -0.058 | -0.011 | -0.042 | -0.059 | -0.025 | -0.023 | 0.004 | 0.046 | 0.031 | 0.05 | 0.016 | 0.035 | 0.065 | -0.01 | -0.003 | -0.038 | -0.015 | 0.006 | 0.013 | 0.052 | 0.081 | 0.069
dY | -0.049 | 0.032 | 0.046 | 0.075 | 0.089 | 0.01 | 0.032 | 0.006 | 0.037 | 0.042 | 0.219 | 0.108 | -0.058 | 0.054 | 0.002 | 0 | -0.043 | -0.065 | -0.019 | -0.01 | -0.031 | 0.005 | 0.076 | 0.009 | 0.27 | 0.196 | 0.094 | -0.019 | -0.081 | -0.107 | -0.106 | 0.043 | 0.151 | 0.287
dZ | 0.102 | 0.099 | 0.14 | 0.105 | -0.095 | 0.087 | 0.097 | 0.05 | 0.1 | 0.088 | 0.085 | 0.096 | 0.056 | -0.012 | -0.003 | -0.022 | 0.06 | 0.053 | 0.027 | 0.066 | 0.069 | 0.046 | 0.096 | 0.046 | 0.014 | 0.008 | 0.012 | 0.009 | 0.009 | -0.001 | 0 | 0.035 | 0.013 | 0.025
Chart: Elements 2025CDB2025-2026CDB2025
| 522207.886 | 522208.14500000002 | 522208.51 | 522208.745 | 522219.26400000002 | 522198.26400000002 | 522219.261 | 522177.23200000002 | 522198.25799999997 | 522208.49900000001 | 522208.67700000003 | 522204.36700000003 | 522204.44099999999 | 522198.00099999999 | 522198.08899999998 | 522204.462 | 522204.52299999999 | 522633.36200000002 | 522211.038 | 522521.69300000003 | 522469.96899999998 | 522075.02399999998 | 522030.38500000001 | 522474.93900000001 | 522527.30099999998 | 522198.22399999999 | 522198.28 | 522198.27500000002 | 522199.35100000002 | 522199.304 | 522199.30200000003 | 522208.788 | 522208.77399999998 | 522213.62199999997 | 522212.20199999999
dX | -1.664 | -1.869 | -0.024 | -0.017 | 0.191 | 0.174 | 0.266 | 0.286 | 0.229 | 0.326 | 0.014 | 0.153 | 0.115 | 0.26 | 0.313 | 0.195 | 0.038 | 0.082 | 0.05 | -0.488 | -0.621 | -0.829 | -0.989 | -1.139 | -1.352 | -0.098 | -0.124 | -0.138 | -0.135 | -0.11 | -0.123 | -0.023 | -0.032 | -1.696 | -0.956
dY | 0.351 | 0.38 | -0.056 | -0.045 | -0.031 | -0.018 | -0.029 | -0.021 | -0.012 | 0.018 | 0.018 | -0.022 | -0.028 | -0.027 | 0.077 | 0.054 | 0.074 | -0.218 | -0.187 | 0.096 | 0.136 | -0.18 | -0.243 | -0.028 | -0.041 | -0.047 | -0.027 | -0.004 | -0.036 | -0.004 | -0.054
dZ | 0.127 | 0.134 | 0.122 | 0.133 | 0.053 | 0.06 | 0.084 | 0.079 | 0.088 | -0.121 | 0.077 | 0.039 | 0.057 | 0.084 | 0.059 | 0.077 | 0.078 | 0.037 | 0.056 | 0.056 | 0.047 | 0.023 | 0.032 | 0.068 | 0.061 | 0.171 | 0.159 | 0.172 | 0.19 | 0.185 | 0.189 | 0.084 | 0.08 | -0.097 | 0.42
Chart: Network 2025CDB2025-2026CDB2025
| 520727.02100000001 | 520522.46899999998 | 522634.58899999998 | 520318.60800000001 | 524881.78700000001 | 522989.217 | 524936.65500000003 | 524666.69099999999 | 522120.81099999999 | 522030.473 | 524538.16700000002 | 524784.19299999997 | 520480.99099999998 | 523889.17300000001 | 524444.728 | 524447.76199999999 | 524979.08600000001 | 524973.24800000002 | 525181.78 | 525675.86699999997 | 526443.50300000003 | 524724.48600000003 | 524141.99900000001 | 524720.12899999996 | 522777.39500000002 | 521698.23200000002 | 521440.12800000003 | 521201.18 | 521079.48 | 522123.96899999998 | 522492.85399999999 | 523182.90899999999 | 524060.37599999999 | 523163.636
dX | -0.063 | 0.016 | 0.033 | 0.045 | 0.069 | -0.004 | 0.008 | -0.01 | 0.024 | 0.029 | 0.203 | 0.085 | -0.089 | 0.067 | 0.023 | 0.022 | -0.029 | -0.051 | -0.008 | -0.009 | -0.044 | -0.007 | 0.081 | -0.003 | 0.304 | 0.223 | 0.117 | -0.001 | -0.065 | -0.092 | -0.091 | 0.065 | 0.177 | 0.32
dY | -0.015 | -0.008 | -0.046 | 0.047 | -0.128 | -0.026 | -0.012 | -0.101 | 0.04 | 0.037 | -0.077 | -0.02 | 0.075 | 0.022 | 0.053 | 0.069 | 0.035 | 0.033 | 0.005 | -0.038 | -0.023 | -0.04 | -0.005 | -0.025 | -0.052 | 0.025 | 0.018 | 0.053 | 0.03 | 0.008 | 0 | -0.04 | -0.07 | -0.057
dZ | 0.113 | 0.111 | 0.151 | 0.117 | -0.083 | 0.099 | 0.108 | 0.061 | 0.111 | 0.099 | 0.097 | 0.108 | 0.067 | 0 | 0.008 | -0.01 | 0.072 | 0.064 | 0.038 | 0.078 | 0.08 | 0.058 | 0.108 | 0.058 | 0.026 | 0.02 | 0.023 | 0.021 | 0.021 | 0.011 | 0.012 | 0.046 | 0.024 | 0.037
Chart: Elements 2025CDB2025-2026CDB2026
| 522207.886 | 522208.14500000002 | 522208.51 | 522208.745 | 522219.26400000002 | 522198.26400000002 | 522219.261 | 522177.23200000002 | 522198.25799999997 | 522208.49900000001 | 522208.67700000003 | 522204.36700000003 | 522204.44099999999 | 522198.00099999999 | 522198.08899999998 | 522204.462 | 522204.52299999999 | 522633.36200000002 | 522211.038 | 522521.69300000003 | 522469.96899999998 | 522075.02399999998 | 522030.38500000001 | 522474.93900000001 | 522527.30099999998 | 522198.22399999999 | 522198.28 | 522198.27500000002 | 522199.35100000002 | 522199.304 | 522199.30200000003 | 522208.788 | 522208.77399999998 | 522213.62199999997 | 522212.20199999999
dX | -1.792 | -1.996 | -0.153 | -0.146 | 0.022 | 0.005 | 0.097 | 0.118 | 0.061 | 0.17 | -0.141 | -0.012 | -0.049 | 0.092 | 0.145 | 0.032 | -0.125 | -0.08 | -0.11 | -0.655 | -0.787 | -0.995 | -1.155 | -1.305 | -1.518 | -0.268 | -0.294 | -0.308 | -0.304 | -0.279 | -0.293 | -0.181 | -0.19 | -1.856 | -1.115
dY | 0.425 | 0.453 | 0.018 | 0.028 | 0.043 | 0.055 | 0.044 | 0.052 | 0.061 | 0.091 | 0.091 | 0.052 | 0.045 | 0.047 | 0.15 | 0.127 | 0.147 | -0.144 | -0.113 | 0.169 | 0.209 | -0.107 | -0.17 | 0.045 | 0.032 | 0.026 | 0.046 | 0.07 | 0.037 | 0.07 | 0.019
dZ | 0.352 | 0.359 | 0.348 | 0.359 | 0.278 | 0.285 | 0.309 | 0.304 | 0.313 | 0.104 | 0.302 | 0.265 | 0.283 | 0.31 | 0.285 | 0.302 | 0.303 | 0.262 | 0.281 | 0.281 | 0.273 | 0.248 | 0.257 | 0.293 | 0.286 | 0.397 | 0.384 | 0.397 | 0.415 | 0.411 | 0.415 | 0.309 | 0.305 | 0.129 | 0.645
Chart: Network 2025CDB2025-2026CDB2026
| 520727.02100000001 | 520522.46899999998 | 522634.58899999998 | 520318.60800000001 | 524881.78700000001 | 522989.217 | 524936.65500000003 | 524666.69099999999 | 522120.81099999999 | 522030.473 | 524538.16700000002 | 524784.19299999997 | 520480.99099999998 | 523889.17300000001 | 524444.728 | 524447.76199999999 | 524979.08600000001 | 524973.24800000002 | 525181.78 | 525675.86699999997 | 526443.50300000003 | 524724.48600000003 | 524141.99900000001 | 524720.12899999996 | 522777.39500000002 | 521698.23200000002 | 521440.12800000003 | 521201.18 | 521079.48 | 522123.96899999998 | 522492.85399999999 | 523182.90899999999 | 524060.37599999999 | 523163.636
dX | -0.192 | -0.111 | -0.097 | -0.07 | -0.055 | -0.133 | -0.112 | -0.137 | -0.106 | -0.101 | 0.076 | -0.036 | -0.203 | -0.087 | -0.138 | -0.139 | -0.184 | -0.205 | -0.159 | -0.152 | -0.174 | -0.138 | -0.065 | -0.134 | 0.304 | 0.223 | 0.117 | -0.001 | -0.065 | -0.092 | -0.091 | 0.065 | 0.177 | 0.32
dY | 0.056 | 0.063 | 0.028 | 0.117 | -0.051 | 0.048 | 0.065 | -0.024 | 0.113 | 0.11 | -0.001 | 0.056 | 0.146 | 0.097 | 0.129 | 0.146 | 0.112 | 0.11 | 0.083 | 0.04 | 0.055 | 0.036 | 0.07 | 0.052 | -0.052 | 0.025 | 0.018 | 0.053 | 0.03 | 0.008 | 0 | -0.04 | -0.07 | -0.057
dZ | 0.338 | 0.336 | 0.377 | 0.342 | 0.142 | 0.324 | 0.334 | 0.287 | 0.337 | 0.325 | 0.322 | 0.333 | 0.292 | 0.225 | 0.234 | 0.215 | 0.297 | 0.289 | 0.264 | 0.303 | 0.306 | 0.283 | 0.333 | 0.283 | 0.026 | 0.02 | 0.023 | 0.021 | 0.021 | 0.011 | 0.012 | 0.046 | 0.024 | 0.037
Challenges: results interpretation
Global Frame
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 26
Two benefits of the campaign
TWO BENEFITS
Immediate
Updated beamline reference networks, ready for the next alignment intervention.
Long term
A time series of beamline geometry — the basis for studying normal evolution, systematic effects, and genuinely significant changes.
STILL TO IMPROVE
Coverage — More complete year-to-year datasets
Repeatability — Quantify the repeatability of the full measurement process
Scheduling — Easier to integrate into ESRF planning
QC & traceability — Stronger validation and documentation
Single point of failure — Reduce dependency on one coordinator
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 27
Conclusion
From alignment on demand to measurable beamline evolution
A complete picture, repeated every year
We started with beamlines measured mainly on demand — one intervention at a time.
The new campaign surveys each beamline as a whole: the reference network and the beamline elements are measured together, in the same visit, and tied to one clearly defined measurement epoch.
Repeated year after year, those individual snapshots progressively build a real time series — turning beamline geometry from something we check into something we can measure and interpret over time.
The goal is not simply to survey beamlines every year.
The goal is to make their geometric evolution measurable and interpretable.
IWAA2026| 2026/10/07 | Cristina Gonzalez Torres

## Slide 28
THANKS FOR YOUR ATTENTION