## Slide 1
Neutron Instruments at MLF
Neutron Science Section, MLF Division, J-PARC Center
Mitsutaka Nakamura
Gabriele Sala
SINQ–MLF Mini Workshop “Advancing Neutron Facilities Together 2025”
October 23, 2025

## Slide 2
May 30, 2008
Congratulation!
MLF 1st beam
May 30, 2008
MLF Experimental Hall
23 Neutron Beam Ports
Operation: 21 (October, 2025)

## Slide 3
Review current performance "MLF2030"
Upgrade planning of TS1
“MLF-double”
Construction of TS2 and operation
Actions to advance the MLF future plan
To foster momentum for future development, the facility is moving forward with the “MLF-double” program.
TS1
3GeV RCS
J-PARC TS2
TS2
6e+14
5e+14
4e+14
3e+14
2e+14
1e+14
0
Emission time (ms)
Brightness (n/cm2/sr/Å/s)
SNS-STS
2034~
ESS
2027~
J-PARC
TS1
2008~
SNS-FTS
2006~
J-PARC
TS2
20xx~
Neutron Brightness
Muon beam intensity

## Slide 4
MLF-double program
Aiming to double the effective intensity of TS1

## Slide 5
BL18
Detector
Installing the newly developed large detectors
Examples of initiatives under the “MLF-double” program #1
830 mm
545 mm
Gapless diffraction image!!
Exploring ways to make effective use of older detector

## Slide 6
Current Situations and Challenges
〇 Problems:
〇 Ripple effect:
〇 Measures:
High-angle bank
Beam
Medium-angle bank
Small-angle bank
Sample, SE
＠BL15 TAIKAN
Medium/High-angle Banks Unavailable in Extreme SE
Incident
neutrons
Scattered neutrons
Limited q-Range Restricts BL15 TAIKAN
θ:fixed ; small λ → increase q
High-speed rotation of T0 chopper
25Hz → 100Hz
Effective use of short wavelength neutrons
BL01
25Hz → 100Hz;
qmax: 1.8A-1 → 6.2A-1
High-Precision Insight into Hierarchical Structures under Extreme Conditions
BL15
Chopper
Examples of initiatives under the “MLF-double” program #2
Time
Time
Transmission
Distance
Long
Short
Wavelength
Long
Short
Wavelength
Source
Det.
Sample
Speed-up
Shielded by B and Cd
Beam
Shielded by bulk metal

## Slide 7
〇 Low neutron flux:
Compared to the simulation, the actual neutron flux is significantly lower—only around one-third to one-fourth.
〇 Performance degradation of the guide mirror:
Reflectivity data of existing mirror
Nominal
Measured
Reflectivity
Flux at sample position
Measured
Simulation
× 3~4
The issue has been pinpointed, and simulations indicate a 3–4× improvement in intensity.
Fabricated in FY2025
Guide length: 11 m; m-value = 3–4,
reflectivity = 80–90%
Installed in FY2026
〇 Ripple effect:
A world-class instrument, already flooded with users, is finally ready to shine.
BL14
Guide tube
Examples of initiatives under the “MLF-double” program #3
Current Situations and Challenges
2023B

## Slide 8
Review current performance "MLF2030"
Upgrade planning of TS1
“MLF-double”
Construction of TS2 and operation
Activities toward TS2 #1
Close collaboration between users and the facility
MLF Roadmap WS
- 1st : August 26, 2025, 2nd: March 14, 2026
- 3rd, 4th : To be held in FY2026
Activities toward TS2 #2
Evaluating TS2 instruments requires understanding our current position through comparison with TS1.
Applying state-of-the-art Monte Carlo simulations to the existing TS1 instrument
  → Sala’s talk
We were experts in instrument simulation 20 years ago
But now …
Especially, Young staff has no experience