## Slide 1: Error Diagnosis System Report
Layne Fujioka

## Slide 2
Currently errors occurs during uptime of the detector
This forces the people watching (shifters) to identify, contact people to fix it, then restart the system
By automatically detecting errors and determining who the shifters should contact, we can mitigate the amount of downtime experienced
With less downtime everyone is happy

## Slide 3
When errors occur, currently we check;
①
➁
➂
1, log message from DAQ processes
2, output of statft
3, status indicator of SLC system
->
Diagnose these info. and provide shifters
what to do.
Message windows to shifters ?

## Slide 5
I either get BUSY or errors to deal with
There are two places, COPPER and FEE
COPPER takes information from the subdetectors to the readout PCs
FEE (front end electronics) of subdetectors for collect information

## Slide 6: High Level Flowchart:
Check statft 184
Local mode?
Any errors?
First busy check
Check state of SLC
rcstate of the subdetector in ERROR or FATAL?
Check log messages
Do the log messages match any diagnosed cases in .xml file?

## Slide 7
ttd11
rospare01

## Slide 8: Dealing with errors

## Slide 9
Parsing

## Slide 10
local mode?
b2ldown?
rerr, ferr,
fifoerr, b2llost?
ttdown, ttlost?
anyerr?
BUSY?
yes
no
FEE or COPPER?
yes
no
no
no
no
yes
yes
yes
yes
b2ldown detected, no additional information
call subdetector experts
undiagnosed error
COPPER
FEE
call subdetector experts
call DAQ experts
more work…
Good!
no

## Slide 11: Example 1:

## Slide 12: Example 1:

## Slide 13
local mode?
b2ldown?
rerr, ferr,
fifoerr, b2llost?
ttdown, ttlost?
anyerr?
BUSY?
yes
no
FEE or COPPER?
yes
no
no
no
no
yes
yes
yes
yes
b2ldown detected, no additional information
call subdetector experts
undiagnosed error
COPPER
FEE
call subdetector experts
call DAQ experts
more work…
Good!
no

## Slide 15
local mode?
b2ldown?
rerr, ferr,
fifoerr, b2llost?
ttdown, ttlost?
anyerr?
BUSY?
yes
no
FEE or COPPER?
yes
no
no
no
no
yes
yes
yes
yes
b2ldown detected, no additional information
call subdetector experts
undiagnosed error
COPPER
FEE
call subdetector experts
call DAQ experts
more work…
Good!
no

## Slide 17: Dealing with BUSY

## Slide 18
Flow chart for analyzing BUSY
BUSY in statft !
BUSY source ?
FEE
“Call sub-detector experts !”
COPPER
ERROR state of SLC ?
Error message in log ?
No
Event # < 500 ?
Yes
“Call sub-detector experts !”
“Call DAQ expert !”
Diagnose with the messages
No
Yes
DAQ related error
FEE related error
“Call sub-detector experts !”
Source of information :
Yellos = statft
Sky blue = run controller state
Red = Log
Run controller state
or FATAL

## Slide 19: BUSY from FEE or COPPER?
Unfortunately BUSY does not show a number like the statft case
Must parse the subdetector statft to figure out if the BUSY is from FEE or COPPER
If it is from COPPER proceed.
If it is from FEE call the subdetector expert.

## Slide 20: Example 2:

## Slide 21: Example 2:

## Slide 22
Flow chart for analyzing BUSY
BUSY in statft !
BUSY source ?
FEE
“Call sub-detector experts !”
COPPER
ERROR state of SLC ?
Error message in log ?
No
Event # < 500 ?
Yes
“Call sub-detector experts !”
“Call DAQ expert !”
Diagnose with the messages
No
Yes
DAQ related error
FEE related error
“Call sub-detector experts !”
Source of information :
Yellos = statft
Sky blue = run controller state
Red = Log
Run controller state
or FATAL

## Slide 24: Example 2:

## Slide 25
Flow chart for analyzing BUSY
BUSY in statft !
BUSY source ?
FEE
“Call sub-detector experts !”
COPPER
ERROR state of SLC ?
Error message in log ?
No
Event # < 500 ?
Yes
“Call sub-detector experts !”
“Call DAQ expert !”
Diagnose with the messages
No
Yes
DAQ related error
FEE related error
“Call sub-detector experts !”
Source of information :
Yellos = statft
Sky blue = run controller state
Red = Log
Run controller state
or FATAL

## Slide 27: Parsing Log Files
Calling queries for log records repeatedly cause the node to get stuck
Solution: call logs during the time of the detected error and two cycles after
If no match is found in the logs database, output a default message

## Slide 28
If error state in SLC
Check 3 times
Pull FATAL and ERROR logs
Match against vector of diagnosed messages in program
If no match was found, tell the shifters “undiagnosed message”

## Slide 29: Example 3:
Using two different commands, we can make two different error log messages appear in the database
I can use two different strings in my program to match and return different messages to the shifters

## Slide 30
From DAQ database
In my program
Output for shifters
“Invalid event_number”
“Invalid Magic word”
“Call DAQ expert”
“Call sub-detector expert”

## Slide 31: In both cases:

## Slide 32: In both cases:

## Slide 33
Flow chart for analyzing BUSY
BUSY in statft !
BUSY source ?
FEE
“Call sub-detector experts !”
COPPER
ERROR state of SLC ?
Error message in log ?
No
Event # < 500 ?
Yes
“Call sub-detector experts !”
“Call DAQ expert !”
Diagnose with the messages
No
Yes
DAQ related error
FEE related error
“Call sub-detector experts !”
Source of information :
Yellos = statft
Sky blue = run controller state
Red = Log
Run controller state
or FATAL

## Slide 35: Future Steps
Eventually things are not supposed to run on ttd11 (where statft is pulled from) so something else needs to be done for the first step
It may be helpful to record new log messages so they can be added into the program later

## Slide 36: Conclusion
I learned first hand how much work goes into keeping a detector up and running…
The various ways data is communicated / transported between different places
I learned some C++
Tsukuba has very good ramen

## Slide 37: Thank you!!!